LODE · Custom Session SOP Agilent 7900 ICP-MS — trace metal quantification Booking VEIN-0021 · Generated 2026-05-25 18:18

INSTRUMENT Agilent 7900 ICP-MS; RESEARCHER Dr. Priya Anand; RESEARCH GROUP Trace Geochemistry; MATERIAL mine drainage water digested in concentrated hydrofluoric acid. SAMPLE —; SESSION Tue, May 26 · 15:00–17:00 EDT; PREP STARTS Tue, May 26 · 14:00; FIT SCORE 88/100 (A).

CUSTOMIZED SAMPLE-SPECIFIC NOTES This SOP is customized for Dr. Priya Anand's trace metal quantification on mine drainage water digested in concentrated hydrofluoric acid. Cited RAG sources are listed at the end of this document.

RECOMMENDED OPERATING PARAMETERS

| Parameter | Recommended value (with citation) |
| --- | --- |
| Mode | Standard |
| Duration | 120 min |

PRE-SESSION CHECKLIST  (CUSTOMIZED TO SAMPLE)

☐  Confirm safety training for Agilent 7900 ICP-MS is current

☐  Arrive by 14:00 for warm-up and prep

☐  Review SDS for mine drainage water digested in concentrated hydrofluoric acid and lab EH&S guidelines  [Agilent 7900 ICP-MS Manual 2.4 Sample Types, p.31]

☐  Bring USB drive labelled with research group

STEP-BY-STEP PROCEDURE

1. Warm-up — Power on the instrument and complete its warm-up cycle (~20 min).  [Agilent 7900 ICP-MS Manual 2.4 Sample Types, p.31]

2. Load sample — Mount mine drainage water digested in concentrated hydrofluoric acid (as supplied). Verify surface level and stage clearance.  [Historical Run Log Run #3]

3. Configure — Apply parameters above for trace metal quantification.  [Historical Run Log Run #3]

4. Acquire data — Run the planned scan / image series for trace metal quantification. Monitor for saturation or charging.

5. Export — Save raw files to lab server under your group folder.

6. Shutdown — Follow instrument-specific shutdown checklist in the lab binder.

POST-RUN CHECKLIST

☐  Submit LODE post-run report with actual parameters + quality rating

☐  Log instrument hours and any anomalies in the maintenance log

☐  Backup raw data to research group share within 24 hours

☐  Notify lab manager of any DET-SAT, VAC-LOW, or charging issues

SAFETY NOTES

•  Handle mine drainage water digested in concentrated hydrofluoric acid per Mines EH&S guidelines.  [Agilent 7900 ICP-MS Manual 2.4 Sample Types, p.31]

•  PPE: safety glasses (and gloves when handling powders).

•  Hazardous materials flagged — coordinate with EH&S before session.

RAG REFERENCES

This SOP was generated by LODE's authoring agent grounded in the following lab knowledge sources (manuals, lab SOPs, maintenance logs).

[1] Historical Run Log — Run #3

[2] Agilent 7900 ICP-MS Manual — 2.4 Sample Types (p.31)

[3] jeol-sem — jeol-sem

Fit rationale: ICP-MS ideal for trace element quantification in aqueous samples.